SYSTEM : VINTAGE COATING FOR EXTERIOR

Concrete and Masonry Surface – Exterior

System Description

Primary Coat: 1 coat of Weathercoat Vintage Alkali Resistance Primer

A premium quality alkali resisting primer based on acrylic co-polymer designed to penetrate into, and seal the surface

Volume Solids: 37% ± 2%

Secondary Coat: 2 coats of Weathercoat Vintage (Different Effects)

A product with high quality exterior durable polymers, weather resistant pigments, high performance biocides and special quality of quartz sand.

NVM Solids (%): 65% ± 2% to 75% ± 2%

Top Coat: 2 coats of Weathercoat Vintage Glaze Coat

A high performance coating containing water repellent and UV resistant compounds to provide a tough durable composite coating for our Weathercoat Vintage system.

Volume Solids: 34% ± 2%

Certificate

Water vapour transmission of material: Value SD (M) < 1- ASTM E96 - 05

Recommended Areas of Application

Area of Use: Exterior only

Substrate: Concrete and brick walls, plastered surfaces and masonry surfaces.