TOUCHWOOD ACRYLIC PU TOP COATS - CLEAR (INT/EXT)

Product Description

Touchwood Acrylic Polyurethane Exterior wood finish is a premium quality two-pack composition based on acrylic resin isocyanate. The product has been designed to withstand very aggressive physical and chemical environments like abrasion, heat, light, alcohol, tea hot beverages, nail enamel and almost all aliphatic aromatic solvents. This product outperforms any other conventional wood finish by many times both on short term as well as long term performance and it is available in pigmented and lacquer (Gloss/ Satin/ Matt) form. It is also highly resistant to yellowing. Touchwood Acrylic PU Sanding Sealer with Acrylic PU Top Coat (silk matt) is a FIRA Approved system.

Recommended Areas of Application

Area of Use: Exterior.

Substrate: Natural wood, Wood substitutes like plywood, Particle board etc.

Technical Data

Finish				:	Glossy, Satin and Matt

Composition			:	Acrylic Polyol cured with Aliphatic Isocyanate

Mixing Ratio			: 	As per pack size

% Solids (NVM)			: 	43±2%

Pot life of the mixture		: 	4–5 hrs.at 30°C

Pack Size				: 	1USG, 5USG

Theoretical Coverage		: 	11.2–12.8Sqm/Lt@25μDFT

Practical Coverage		: 	Practical coverage may depend upon surface profile, method of

application and weather conditions.

| Drying time @ 30°C | Surface Dry | Touch Dry | Sandable Dry | Recoatability | Hard Dry |
| --- | --- | --- | --- | --- | --- |
|  | 1 hour | 2 hours | 5 hours | 6-8 hours | 7 days |

Application Data

Method of application		:	Conventional spray at a viscosity of 20-22 Sec

Thinner				:	Touchwood Acrylic P.U. Thinner

Thinning ratio (by vol.)		:	30 – 35 % by Volume

Surface Preparation

• Sand the wood surface (new or previously painted) thoroughly using P 180 emery paper first, followed by P 400 emery paper.

• Dust off the surface using rags and wipe off with PU Thinner to remove traces of oil, grease, or any organic contaminants.

Application Details

• Apply appropriate wood filler for filling the grains and sand off the excess filler.

• Apply 1 or 2 coats of Touchwood Acrylic P.U Primer (for pigmented top coat) or Sealer (for Clear top coats) and fine sand it with P 400 sandpaper.

• Dust off the loose powdery particles. Spray two pack Polyurethane Pigmented/clear top coat after mixing the base and hardener in the specified ratio and allowing the mixture to remain for 5-10 minutes before application (for effervescences to subside completely). If viscosity of base and hardener mixture is found to be higher than the specified application viscosity Acrylic P.U. Thinner can be added to adjust the viscosity.

| TYPICAL PAINT SYSTEM |  |
| --- | --- |
| Clear System |  |
| 2 coats x Touchwood Acrylic PU Sanding Sealer Exterior | 2 coats x Touchwood Acrylic PU Pigmented Primer Exterior |
| 2 coats x Touchwood Acrylic PU Clear Topcoat Exterior | 2 coats x Touchwood Acrylic PU Pigmented Topcoat Exterior |
| For detailed system recommendation based on specific requirements please contact Berger representative. |  |

Storage, Safety Information and Precautions

Storage and Handling:

• Base and hardener should be stored separately in a cool place.

• For protection against exposure to isocyanate system, wear goggles, air fedmask and necessary attire.

• Never keep the lids of the cans containing base and hardener open

• Always use the base and hardener as supplied. Don’t use partially.

• Dispose in a landfill and not in a drain or water channel.

Safety Information

Flash Point : 20° C

Fire Hazard class : Flammable

Disclaimer

The information provided in this data sheet is not intended to be complete. It is the responsibility of the user to ensure that the product used is suitable for the purpose it is meant to serve. In view of various factors affecting the performance of the coating, we cannot assume responsibility for the product performance, nor do we accept any liability arising from use of this product, unless specifically agreed to in writing by us. The information provided in the datasheet may be modified by us without notice.