SYSTEM : PREMIUM FINISH FOR WOOD - INTERIOR (CLEAR)

Wood - Interior (Clear)

Primary Coat: 2-3 coats of Touchwood PU sanding sealer interior

Based on acrylic resin isocyanate and has excellent grain filling properties.

Volume Solids: 46% ± 2%

VOC: <275 gms/ltr complies to LEED Standard

Top Coats: 1-2 coats of Touchwood PU Topcoat (Clear)

A two pack polyurethane coating based on suitably modified polyester containing special additives to provide a smooth, tough, durable and hardwearing low sheen finish with good flow and film build-up.

Highlights:

a) Excellent leveling and very fast drying

b) Gloss/Silk Matt/Matt Finish with good hardness

c) Good resistance to household chemicals and beverages

Volume Solids: 47% ± 2%

Recommended Areas of Application

Area of Use: Interior only

Substrate: Wood and related substrates